	Item
	Description
	Quantities
	Unit
	Unit Rate

($US)
	Total

	0001 
	Mobilization/Demobilization
	1
	L.S.
	
	

	0002 
	Installation of 3.3KV switchgear
	2
	Ea
	
	

	0003 
	Installation of 3.3 KV MCCs
	2
	Ea
	
	

	0004 
	Installation of 400VMCCs
	25
	Ea
	
	

	0005 
	Installation of 400V Power. Dist. Panels.
	8
	Ea
	
	

	0006 
	Installation of MIMIC panels
	2
	Ea
	
	

	0007 
	Installation of 3.3KV cable
	1000
	L.M.
	
	

	0008 
	Terminate 3.3KV cable
	100
	Ea
	
	

	0009 
	Installation of 400V power/control cable
	30000
	L.M.
	
	

	00010 
	Terminate 400V power/control cable
	10000
	Ea
	
	

	00011 
	Supply conduit for power/control/lighting/receptacles
	10000
	L.M.
	
	

	00012 
	Install conduit for power/control/lighting/receptacles
	10000
	L.M.
	
	

	00013 
	Supply remote control stations
	225
	Ea
	
	

	00014 
	Install remote control stations
	225
	Ea
	
	

	00015 
	Supply remote starters (including electrolyte starters)
	55
	Ea
	
	

	00016 
	Install remote starters (including electrolyte starters)
	55
	Ea
	
	

	00017 
	Install grounding/bonding/lightning cable
	1500
	L.M.
	
	

	00018 
	Terminate grounding/bonding/lightning cable 
	2500
	Ea
	
	

	00019 
	Install cable trench 
	2000
	L.M.
	
	

	00020 
	Supply 400V lighting panels 
	16
	Ea
	
	

	00021 
	Install 400V lighting panels 
	16
	Ea
	
	

	00022 
	Supply interior building lights 
	765
	Ea
	
	

	00023 
	Install interior building lights
	765
	Ea
	
	

	00024 
	Supply lighting cable/receptacle cable (including street lighting)
	35000
	L.M.
	
	

	00025 
	Install lighting/receptacle cable (including street lighting)
	35000
	L.M.
	
	

	00026 
	Supply electrosonic water level control system
	11
	Ea
	
	

	00027 
	Terminate and test ultrasonic water level control system
	11
	Ea
	
	

	00028 
	Supply cable, internal wires, fuses, lighting fixture of (250) watt mercury lamps
	100


	Ea
	
	

	00029 
	Remove existing install and test (10 m.) external street lighting poles, the work shall include installing cable, internal wires, fuses, lighting fixture of (250) watt mercury lamps and painting.
	100
	Ea
	
	

	00030 
	Supply 10 meter light poles
	100
	Ea.
	
	

	00031 
	Supply projector lighting fittings (1000 w) sodium type with movable base for above towers (16 No. for each tower)
	192
	Ea
	
	

	00032 
	Install, connect and test projector lighting fittings (1000 w) sodium type with movable base for above towers (16 No. for each tower)
	192
	Ea
	
	

	00033 
	Supply street light control units (box, photo eye, contactor, HOA switch)
	20
	Ea
	
	

	00034 
	Install street light control units (box, photo eye, contactor, HOA switch)
	20
	Ea
	
	

	00035 
	Supply one floor mounted 25 ton AC unit for Administration Building/Power House, including outdoor concrete pad
	1
	Ea.
	
	

	00036 
	Install one (1) floor mounted 25 ton AC unit for Administration Building/Power House including outdoor concrete pad
	1
	Ea
	
	


